## Slide 1: Deep Learning Wavefront Reconstruction With Collimated Lasers Using Experimental Data from the PPPP Bench
Nazim Ali Bharmal 1, Carlos González-Gutiérrez 2, Huizhe Yang 1,3, Jorge Rodríguez Muro 2, Tim Morris 1, Francisco Javier de Cos Juez 2
1 Centre for Advanced Instrumentation, Durham University, UK
2 Instituto Universitario de Ciencias y Tecnologías Espaciales de Asturias, University of Oviedo, Spain
3 College of Advanced Interdisciplinary Studies, National University of Defense Technology, China

## Slide 2: Outline
Alternative laser-based wavefront sensing, our technique
The PPPP bench, our source of experimental data
Results from ML, our analysis of the data
Next steps, our plans

## Slide 3: 1. A non-LGS method of wavefront sensing:

## Slide 4: Mathematical model
I1
I2
I0
4
Transport of Intensity Equation (TIE),

## Slide 5: Example of simulation, low-resolution

## Slide 6: Simulation approach
Upward propagation  realistic  ✅
  Fresnel diffraction, angular spectrum propagator + arbitrary height turbulent layers
Downwards propagation  easy-to-implement assumption  ⛔️
  Simplify the situation by assuming,
Reconstruction  realistic for a filled circular pupil  ☢️
  Modal, using Zernikes
Desire to improve fidelity via experimentation
  Include error sources, misalignments, and non-simulated effects

## Slide 7: 2. The PPPP bench
20th March 2020

## Slide 8: Schematic
WFS
Cam 1
Laser
f1
f2
f3
f4
f5
f6
f7
f8
f9
f10
Deformable Mirror
z1
B/S
B/S
SH WFS
8×8
detector conjugate to z1
D
MLA
M1
M2
M3a
M3b
f8
f9
f10
B/S
detector conjugate to z2
z2
Cam 2

## Slide 9: Modal DM response
SH
P4
Choice to use:
  measured IM and its inverse
  forward model
Both work well  linear algebra

## Slide 10: Neural networks for higher SNR

## Slide 11: 3. Neural Network architecture for Machine Learning
Already demonstrated in simulation that a neural network architecture is superior to the linear solution,
  (Except for unrealistic laser powers.)
Can use existing image-based processing
Wanted to confirm that NN-based ML algorithm works with hardware.

## Slide 12: Limitations
Only one source of aberrations, low-order modal DM
Fixed propagation distances & zero turbulence altitude
Slow to operate, and need ca.105 frames
Ignoring return propagation aberrations

## Slide 13: Comparison of data inputs and outputs
WFS
slopes
wavefront
Zernikes
Cam 1
Zernikes
Cam 2
ML
Shack
Hartmann
PPPP

## Slide 14: Neural Network architecture
Fully connected
layers
Convolutional
layers
Variable Filter Size
Variable Stride
Four
convolutional
layers
Input images
128
neurons
Hidden layer
128
neurons
Output layer
72
neurons
Input layer
2×300×300
pixels
8×150×150
pixels
8×75×75
pixels
1st layer: Filter size and stride: 2
2nd layer: Filter size and stride: 2
3th layer: Filter size and stride: 3
4th layer: Filter size and stride: 5
5th layer: Filter size and stride: 5

## Slide 15: Results
Images subset |  | Output residual relative WFE |  |  | 
Training | Testing | Two images | One image, closer | One image + WFE back propagation | Difference of images
Complete | Complete ≡ training | 32.8% | 30.0% | 12.4% | 14.6%
Random | Random ∉ training |  |  | 12.4% | 
Estimated noise component |  |  |  | 14.1% | 

## Slide 16: 4. Future experiments with WIVERN
The PPPP bench reached its natural lifetime and has been dismantled
Future experiments will use WIVERN, a novel concepts experiment† which has:
  1 arcminute FoV,
  Laser projection through turbulence (two way) as far as ≲ 100km,
  Phase screens between surface and 20km,
  Built-in DM—AO experiments such as pre-compensation, and
  Well-defined software-based RTC.
† emulating a 4m telescope

## Slide 17: Future goals
Recreate PPPP for investigating tomographic sensing.
  Currently at design stage for WIVERN.
Determine performance limits with ML wavefront retrieval.
  Enabled by faster (×100) and more accurate data from WIVERN.
Integrate tip/tilt sensing (or not).