## Slide 1: Fourier filter LGS wavefront sensing for ELT sized telescopes: comparison of Pyramid and Ingot
Francisco Oyarzún1, Vincent Chambouleyron2, Benoit Neichel2, Thierry Fusco2, Andrés Guesalaga1 1Departamento de Ingeniería Eléctrica, Pontificia Universidad Católica de Chile, Santiago, Chile
2Aix Marseille Univ, CNRS, CNES, LAM, Marseille, France

## Slide 2: Pyramid + LGS
Introduction
NGS
LGS
Glass pyramid
Light beam
Spot image

## Slide 3: LGS modeling
Modeling
LGS modelation: point source sampling
LGS image as seen through the telescope

## Slide 4: LGS modeling
Modeling
LGS image as seen through the telescope
LGS modelation: point source sampling

## Slide 5
5
>60x faster!

## Slide 6: Tested FFWFS for 40 m telescope
Modeling
Pyramid
Ingot
Affected by DoF
Not affected by DoF
LGS as seen by the WFS
Phase mask
Pupil images
DoF : Depth of Focus

## Slide 7: Photon noise sensitivity computation
Modeling

## Slide 8: Photon noise & Sensitivity
Performance evaluation
Diffraction limited
3 mas spot
(zoom x300)
Photon noise contribution to EB
: Sensitivity to mode

## Slide 9: Photon noise & Sensitivity
Performance evaluation
Diffraction limited
3 mas spot
(zoom x300)
Photon noise contribution to EB
: Sensitivity to mode
Laser launch telescope limited
1” spot
20x drop
~ 6.5 mag

## Slide 10: Photon noise & Sensitivity
Performance evaluation
Diffraction limited
3 mas spot
(zoom x300)
Photon noise contribution to EB
: Sensitivity to mode
Laser launch telescope limited
1” spot

## Slide 11: Photon noise & Sensitivity
Performance evaluation
Diffraction limited
3 mas spot
(zoom x300)
Laser launch telescope limited
1” spot
Photon noise contribution to EB
: Sensitivity to mode
2x drop
~ 1.5 mag

## Slide 12: Photon noise Sensitivity
Performance evaluation
Diffraction limited
3 mas spot
(zoom x300)
Laser launch telescope limited
1” spot
20x drop
~2x drop
Full 3D LGS structure

## Slide 13: Closed loop verification on 8 m telescope
Performance evaluation
400 KL modes
Expected SR = 42 %
@ 8m the sensitivity analysis predicts 4.6 mag drop when using pyramid+LGS

## Slide 14: Closed loop verification on 8 m telescope
Performance evaluation
400 KL modes
Expected SR = 42 %
@ 8m the sensitivity analysis predicts 4.6 mag drop when using pyramid+LGS
4 magnitude drop

## Slide 15: Conclusion
Performance evaluation
Successfully developed a method 60+ times faster than traditional ways of simulating LGS.
Pyramid and Ingot have similar sensitivities.
The main source of lost sensitivity might be the width of the LASER.

## Slide 16: Future work
Performance evaluation
Laboratory demonstration with PULPOS @ PUCV

## Slide 17: Thank you!
Performance evaluation
Questions?