## Slide 1
First results from a bench demonstrator of a novel Wide Field of View Wavefront Sensor
Lazar Staykov, Nazim Ali Bharmal, Timothy Morris, Lisa Bardou, Matthew Townson, David Bramall, Ariadna Calcines-Rosario

## Slide 2
Outline
Wide Field Wavefront Sensing, short intro
Our approach
The bench
The results
Discussion

## Slide 3
Wide Field of View WFS
It all begins with a dream:
  improve performance
  lower the cost
  widen the corrected area
Notable applications:
  Solar AO, from way back when
  MAVIS – Cedric’s talk yesterday
  MORFEO – ELT’s FL WFoV WFS

## Slide 4
Wide Field of View WFS – concept
Laser light propagated in multiple directions around the target. Provides different projections of the turbulent volume.
Each LGS is observed by a dedicated WFS.
The information from the different WFS is then cross-correlated to reconstruct the 3D shape of the turbulence.
Problem is:
  not all of the volume is sampled simultaneously.
  need multiple lasers and WFS, MORFEO 6, MAVIS 8
classic case

## Slide 5
WF WFS – Solar AO

## Slide 6
Create a structured illumination using a single laser
Sense it with a single correlating WFoV WFS
Improve tomography errors
Short form

## Slide 7
Laboratory bench aiming to test two novel WFWFS techniques – correlating Shack-Hartmann (SH) using structured illumination and P4
Simulate 4/8 m telescope with a FoV of 1 to 2’
Pupil conjugated DM with ~52 actuators operating at up to 500 Hz
Atmospheric simulator consisting of 2x rotating phase wheels by Lexitek
  fixed ‘ground layer’
  movable high-altitude layer, 2+ km conjugate
532nm Laser to illuminate a diffuse reflective screen or a dye cell
455x455 OLED 78 μm/pxl (approx 4 x DL of optics)
C-BLUE One(!) with 10x10 Shack-Hartmann WFS with ~100 pxl/subap
Basics
July’22
Sep 9th

## Slide 8
8m telescope
Single layer of turbulence at the ground (r0 of 0.12m)
  Pessimistic case
532nm laser projected to 20km
  Uses angular spectrum propagator
Full aperture monostatic launch of collimated beam
  Not the best/easiest way to implement in reality
  Definitely the easiest to simulate
Uplink/Downlink paths not fully reciprocal
Pattern transportation

## Slide 9
Pattern transportation
150 modes
550 modes
1550 modes
Launch intensity
Intensity @ 20km

## Slide 10
Pattern transportation
150 modes
550 modes
1550 modes
28 arcseconds
5”
Sub-aperture images

## Slide 11
Pattern transportation
subaperture flux
100 independent turbulence realisations
Investigate flux and contrast within every 5” subaperture
Predicted photon return from 265W pulsed 532nm laser
  50cm subapertures, 800 Hz frame rate
Values are photons/subaperture/frame
 |  | 150 modes | 550 modes | 1550 modes
Flux | Mean Max Std | 648 3050 422 | 617 2121 267 | 593 1488 198
Contrast | Min | 0.981 | 0.984 | 0.993

## Slide 12
Pattern transportation
Laser feasibility
Photon return and contrast pattern appears suitable for correlation based wavefront sensing
Fibre modes (i.e. fibre core diameter) gives some flexibility to tune flux vs number/distribution of guide regions
  Modal structure broadly preserved on propagation
High-power pulsed multimode fibre lasers are commercially available
  Not completed a full market survey however

## Slide 13
DM (flat mirror)
Laser launch
OLED
Free space scattering
WFWFS
Atmospheric simulator
Optical layout, designed

## Slide 14
DM (flat mirror)
Laser launch
Atmospheric simulator
OLED
Free space scattering
WFWFS
Optical layout, current

## Slide 15
With phase screen@ pupil
Without phase screen
Pattern transportation

## Slide 16
Post phase screen
Pre phase screen
Pattern on WFS

## Slide 17
Pattern on WFS
Five dots generated using the OLED
Same type of analysis performed
The ‘turbulence’ is applied downlink only
The screen is rotated 1.5° between each data grab
The distance between the centre dot and the off-axii is ~13’’

## Slide 18
Pattern on WFS
Speckle pattern in each subaperture is subdivided to various areas of interest (AoI)
Cross correlation is then performed on each one of them
However:

## Slide 19
Pattern on WFS
Speckle pattern in each subaperture is subdivided to various areas of interest (AoI)
Cross correlation is then performed on each one of them
However:
  resulting WF disagree
  possibly due to:
    low SNR
    centre identification

## Slide 20
Conclusion
Can we improve wide-field wavefront sensing using a LGS
  LGS = Laser Guide Sun
Simulations show it’s feasible using current technology
  High-powered laser coupled into multi-mode fibre
  Creates high contrast speckle pattern
Optical bench setup that simulates two-way LGS propagation
  Started in July, very first results presented here
Wide-field correlating WFS works on calibration OLED
Issues with SNR degrading 2-way LGS sensing
  Side-launch and modifications to optical path should help here
Thank You!

## Slide 21
Calibration dots: