## Slide 1: Time-Resolved Pyramid Wavefront Sensing using Photon-to-Digital Converters
Oct 21, 2022
Jean-Pierre Véran
NRC, Herzberg Astronomy & Astrophysics, Victoria, BC
Simon Carrier, Serge Charlebois, Jean-François Pratte
University of Sherbrooke
Presentation to the AO WFS Workshop in Porto (Oct 19-21, 2022)

## Slide 2
For a modulated PWFS, low spatial frequencies have reduced sensitivity
Some positions in the modulation cycle provide useful information
Some positions in the modulation cycle provide useless information
If the modulation cycle can be temporally resolved, then we could reject the photons providing useless information
Sensitivity of PWFS

## Slide 3
A useful signal (fringes) is recorded only when the two speckles are on a different face of the pyramid
This is always the case when f>rmod/𝝀 but when f < rmod/𝝀 there is some time during the modulation cycle when photons are recorded (thus contributing to noise) but no useful signal (”desert crossing”). These photons should be ignored if possible to maximize the measurement SNR.
The size of the core of the Airy pattern and of the speckles is 𝝀/D (FWHM) where D is the telescope diameter
Typical modulation radius is rmod=3-5𝝀/D
A larger modulation radius provide more dynamic range but reduces sensitivity.
PWFS signal
Deo 2019, after Clergeon
Guyon, 2005

## Slide 4
PWFS measurement
Low spatial frequency
Mode:
Measurement:
∆I(𝜑)=I/N-Iref/Nref
Only a few time slices are useful
Modulation: 5𝜆/D

## Slide 5
PWFS measurement
High spatial frequency
Mode:
Measurement:
∆I(𝜑)=I/N-Iref/Nref
All time slices are useful
Modulation: 5𝜆/D

## Slide 6
Noise propagation
Noise propagation coefficient
Noise variance
1/NI
Propagated noise on mode #m
Bm/NIm
Hopefully reduces when rejecting frames
Definitely reduces when rejecting frames

## Slide 7
Noise propagation

## Slide 8
Optimal frame rejection

## Slide 9
8-meter telescope, assumes 100% throughput in V band
Modulation circle decomposed in 48 time slices
100nm RMS wavefront maps with f-2 power law (residual)
Reconstruction error

## Slide 10
Photon-to-Digital Converter
Photon to bit conversion at the photodiode level
  SPAD integrated on top of electronics in order to increase fill factor (QE 50-60%, up to 80% eventually)
< 70 ps FWHM single photon timing resolution
Embedded signal processing
  <10 ps Time-to-Digital Converters (TDC)
  Coincidence, dark count filters, etc.
Made in Canada:
  Designed at U. de Sherbrooke
  Photodiodes fabricated at Teledyne DALSA (Bromont, Qc)
Applications in radiation instrumentation
  Large scale detection systems (>10 m2) for particle physics
  Fast neutron imaging (Oak Ridge – NA22)
  Medical imaging
  Time-of-Flight Positron Emission Tomography
  Time-of-Flight Computed Tomography
  Quantum communications
DOI: 10.3390/s21020598

## Slide 11
Time resolved WFS might improve the sensitivity of PWFS
Temporal super-resolution might be just as useful as spatial super-resolution for WFSing.
Photon-to-Digital Converters might enable this technology at a reasonable cost
Other WFSs might benefit to
  Curvature sensing?
Conclusion
Non-linear Curvature WFS (Mateen, 2017)